Useful sub-VIs for control, test, and measurement applications

Contact Information: Neal Pederson, President, VI Control Systems, 1923 Mendius Lane, Los Alamos, NM  87544                                                               

TEL: (505) 662-1461, FAX: (866) 422-2931, np@vicontrols.com, www.vicontrols.com
Several software timing and edge-detection sub-VIs will show how and when to use reentrant execution in LabVIEW.

Reentrant Notes:

VIs that are reentrant hold their own copy of data for every instance they are used.

· When to make a VI reentrant:  When data local to instance of VI needs to be separate from other instances of the VI.

· When not to make a VI reentrant:  When data in VI needs to be global to every instance that VI is used.

· Notes on Reentrant VIs: 

· Debugging is not allowed (data depends on instance)

· Some functions cannot be placed inside reentrant VIs (i.e. Wait (ms))

Application and Misc. VIs:

Which Button.vi

Finds first Boolean that is true. Used to select case or state machine that is dependent on multiple Boolean momentary selectors.


VI or Application Directory.vi

Finds directory that VI is located in to assist in creating relative paths. Also tells if VI is in a built application.

[image: image1.png]Application?
ool Ditectory that Vs or Appi.
rtorin o enor etior out




Peak Detect and Hold.vi

Holds largest Value In. Reset will reset Peak to present Value In. Reentrant.

[image: image2.png]Reset?
Vs In :‘:Peakﬂm
error in (o o) ermor ot




Numerical Change Sense.vi

Senses when the input changes. Reentrant.

[image: image3.png]Input Change Sensec
Disabie? . e Sensed
ertor in (o amal emor out




String Change Sense.vi

Senses when the input changes. Reentrant.

[image: image4.png]Input Change Sensec
Disabie? . e Sensed
ertor in (o amal emor out




Timing VIs:
Loop Time Check.vi

Calculates time between calls to itself. If placed in a loop the loop time will be calculated. Reentrant.

[image: image5.png]Max Loop Time [1s) Actual Loop Time (s}
ool . Loop Tine 0K
rtorin o enor oo ot




Loop Time Controller.vi

This works similar to Wait until ms Multiple function only it will not wait if the time set has already passed.

Note: This VI is not and cannot be reentrant because it uses a wait ms function. It should not be used in multiple parallel loops that run simultaneously.

[image: image6.png]Desired Loop Time [ms] :.:Acma\ Loop Time (ms)
errorin [no error] error out




Software Counter Reentrant.vi

Counts time in seconds since reset was issued. Reentrant.

[image: image7.png]Reset? _.: Time Since Reset (5]
errorin [no error] error out




Software Pulse Train Reentrant.vi

If enabled, creates a software pulse train. This VI should be placed in a loop that is at least as fast as the Phase A and Phase B time. Reentrant.

[image: image8.png]Enable? Output

Phase A (5)- Low Time Duiput

Phase B [5)- High Time eror aut
ertor in [no error]




Software One-Shots:

Software One-Shot.vi

Creates a software one-shot. If Start (T)/Read (F) is true, the VI initializes the one-shot sequence with the time Length of One-Shot (s) in seconds. If Start (T)/Read (F) is False, the VI outputs a true value in Control Out until the one-shot period is over. This VI is non-reentrant and should be carefully started and read when needed. It can be saved as a different name if more than one one-shot need to run in parallel. It is typically used in state machines for delay states.

[image: image9.png]Start (T)/Read (F] Control Out
Time Left 5]
‘eror in [ho error] eror out




Software One-Shot Reentrant.vi

Creates a software one-shot. If Start (T)/Read (F) is true, the VI initializes the one-shot sequence with the time Length of One-Shot (s) in seconds. If Start (T)/Read (F) is False, the VI outputs a true value in Control Out until the one-shot period is over.

This is just like the Software One-Shot.vi only it is reentrant allowing multiple timing instances to occur at once.

[image: image10.png]Start (T)/Read (F] Control Out
Time Left 5]
‘eror in [ho error] eror out




Software One-Shot Retriggerable and Reentrant.vi

Creates a software one-shot. If Start (T)/Read (F) is true, the VI initializes the one-shot sequence with the time Length of One-Shot (s) in seconds. If Start (T)/Read (F) is False, the VI outputs a true value in Control Out until the one-shot period is over.

This is just like the Software One-Shot Reentrant.vi only will automatically retrigger itself at the end of each time length. Reentrant.

[image: image11.png]Restart (T)/Read (F) Control Out
Time Left 5]
‘eror in [ho error] eror out




Edge Detection VIs:
Edge Sense.vi

Senses rising and falling edges of buttons and other edge sensitive events. Reentrant.

[image: image12.png]Input Rising Edge Sense
Dissble? Faling Edgs Sense
error in (1o effor] oo out




Latch Falling Edge.vi

Senses when the input goes from true to false. If this happens, the output stays low until a reset occurs. Otherwise, the output tracks the input. Reentrant.

[image: image13.png]Input Output
Reset? - uiput
erorin o enor) - Latched Fal?

Eee arror ot





Latch Rising Edge.vi

Senses when the input goes from false to true. If this happens, the output stays high until a reset occurs. Otherwise, the output tracks the input. Reentrant.

[image: image14.png]Input Output
Reset? - uiput
erorin o enor) - Latched Rise?

Eee arror ot





